REQUIREMENTS FOR THE PRELIMINARY PLAT

1.	Name of the subdivision.

2.	Location of boundary lines and reference to section or quarter-section lines.

3.	Legal description, complete with Section, Township, Range, Principal Meridian, City.

4.	Name and address of owner(s).

5.	Name and address of subdivider(s).

6.	Name of engineer and/or surveyor who prepared the Preliminary Plat.

7.	Scale of Plat, 1” = 100’ or larger, and north arrow.

8.	Date of preparation and basis for north.

9.	Current zoning classification and proposed use of the area being platted.

10.	Location, width and name of platted streets or other public ways, railroad rights-of-way, utility easements, parks and other public open spaces and permanent buildings within or adjacent to the proposed subdivision.

11.	Location of existing sewers, water mains, gas mains, culverts or other underground installations within or adjacent to the proposed subdivision with pipe size, manholes, grades, and location.

12.	Names of adjacent subdivisions together with arrangement of streets and lots and owners of adjacent parcels of unsubdivided land.

13.	Topography at contour intervals of not more than five (5) feet referred to USGS datum and location of water courses, bridges, wooded areas, lakes, ravines and other significant physical features.

14.	Arrangement of lots and their approximate sizes.

15.	Location and width of proposed streets, alleys, pedestrian ways and easements.

16.	General plan of sewage disposal, water supply and utilities, if public.

17.	Notation of type of sewage disposal and water supply if non-public.

18.	Location and size of proposed parks, playgrounds, churches, school sites, or other special uses of land to be considered for reservation for public use.

19.	Relationship to adjacent unsubdivided land.

20.	Approximate gradient of streets.

21.	Gross acreage of the subdivision; acreage dedicated to streets and other public uses; total number of buildable lots; maximum, minimum and average lot sizes.