ARTICLE ONE

The City hereby enacts and ordains the following ordinance to regulate illicit discharges and illegal connection to the storm drain system in the City of____________:

ARTICLE TWO

General Provisions

  - Purpose and Intent.

The purpose of this ordinance is to protect the public health, safety, environment and general welfare through the regulation of non-storm water discharges to the City Of _______________ separate storm sewer system to the maximum extent practicable required by Federal and State law.  This ordinance establishes methods for controlling the introduction of pollutants into the municipal separate storm sewer system (MS4) in order to comply with requirements on the National Pollutant Discharge Elimination System (NPDES) permit process.  The objectives of this ordinance are:

- Regulate the contribution of pollutants to the municipal separate storm sewer system (MS4) by storm water discharges by any user.

- To prohibit Illicit Connection and Discharges to the municipal separate storm sewer system.

- Prevent non-storm water discharges, generated as a result of spills, inappropriate dumping or disposal, to the City Of ______________ separate storm sewer system.

- To establish legal authority to carry out all inspection, surveillance, monitoring and enforcement procedures necessary to ensure compliance with this ordinance.

00-3. Applicability.

This ordinance shall apply to all water entering the storm drain system generated on any developed and undeveloped lands unless explicitly exempted by an authorized enforcement agency.

00-4. Compatibility with other Regulations.

This ordinance is not intended to modify or repeal any other ordinance, rule, regulation or other provision of law.  The requirements of this ordinance are in addition to the requirements of any other ordinance, rule regulation, or other provision of law, and where any provision of this ordinance, rule, regulation, or other provision of law, whichever provision is more restrictive or imposes higher protective standards for human health or the environment shall control.

00-5. Responsibility for Administration.

The City ______________ or designee shall administer, implement, and enforce the provisions of this ordinance.  Any powers granted or duties imposed upon the authorized enforcement agency may be delegated in writing by the Director of the authorized enforcement agency to persons or entities acting in the beneficial interest of or in the employ of the agency.

00-6. Severability.

The provisions of this ordinance are hereby declared to be severable.  If any provision, clause, sentence, or paragraph of this ordinance or the application thereof to any person, establishment, or circumstances shall be held invalid, such invalidity shall not affect the other provisions or application of this ordinance.

00-7. Ultimate Responsibility

The standards set forth herein and promulgated pursuant to this ordinance are minimum standards; therefore this ordinance does not intend nor imply that compliance by any person will ensure that there will be no contamination, pollution, nor unauthorized discharge of pollutants.

00-8. Prohibition of Illegal Discharges.

No person shall discharge of cause to be discharged into the municipal storm drain system or watercourses any materials, including but not limited to pollutants or waters containing any pollutants that cause or contribute to a violation of applicable water quality standard, other than storm water.

The commencement, conduct or continuance of any illegal discharge to the storm drain system is prohibited except as described as follows:

(1)  The following discharges are exempt from discharge prohibitions established by this ordinance: water line flushing or other potable water sources, landscape irrigation or lawn watering, diverted stream flows, rising ground water, ground water infiltration to storm drains, uncontaminated pumped groundwater, foundation or footing drains (not including active groundwater dewatering systems), crawl space pumps, air conditioning condensation, springs, non-commercial washing of vehicles, natural riparian habitat or wet-land flows, swimming pools (if dechlorinated – typically less than one PPM chlorine), fire fighting activities, and any other water source not containing pollutants.

(2)  Discharges specified in writing by the authorized enforcement agency as being necessary to protect public health and safety.

(3)  Dye testing is an allowable discharge, but requires a verbal notification to the authorized enforcement agency prior to the time of test.

(4)  The prohibition shall not apply to any non-storm water discharge permitted under an NPDES permit, waiver, or waste discharge order issued to the discharger and administered under the authority of the Federal Environmental Protection Agency, provided that the discharger is in full compliance with all requirements of the permit, waiver or order and other applicable laws and regulations, and provided that written approval has been granted for any discharge to the storm drain system.

00-09. Prohibition of Illicit Connections.

The construction, connection, use, maintenance or continued existence of any illegal connection to the City Of ___________ separate storm sewer system is prohibited.

(1)  This prohibition expressly includes, without limitation, illicit connections made in the past, regardless of whether the connection was permissible under law or practices applicable or prevailing at the time of connection.

(2)  A person is considered to be in violation of this ordinance if the person connects a line conveying sewage to the MS4, or allows such a connection to continue.

00-10. Industrial or Construction Activity Discharges.

Any person subject to an industrial or construction activity NPDES storm water discharge permit shall comply with all provisions of such permit.  Proof of compliance with said permit may be required in a form acceptable to the City Of _________ prior to the allowing of discharges to the MS4.

00-11. Requirements to prevent, Control, and Reduce Storm Water Pollutants by the Use of Best Management Practices.

The City Of ____________ will adopt requirements identifying Best Management Practices for any activity, operation, or facility which may cause or contribute to pollution or contamination of storm water, the storm drain system, or waters of the U.S.  The owner or operator of a commercial or industrial establishment shall provide, at their own expense, reasonable protection from accidental discharge of prohibited materials or other wastes into the municipal storm drain system or water courses through the use of these structural and non-structural BMP’s  to prevent the further discharge of pollutants to the municipal separate storm sewer system.  Compliance with all terms and conditions of a valid NPDES permit authorizing the discharge of storm water associated with industrial the provisions of this section. These BMP’s shall be part of a storm water pollution prevention plan (SWPPP) as necessary for compliance with requirements of the NPDES permit.

00-12. Watercourse Protection.

Every person owning property through which a watercourse passes, or such person’s lessee, shall keep and maintain that part of the watercourse within the property free of trash, debris, excessive vegetation, and other obstacles that would pollute, contaminate, of significantly retard the flow of water through the watercourse.  In addition, the owner or lessee shall maintain existing privately owned structures within or adjacent to a watercourse, so that such structures will not become a hazard to the use function, or physical integrity of the watercourse.

00.13. Suspension of MS4 Access.

Suspension due to Illicit Discharges in Emergency Situations

The City Of ___________ may, without prior notice, suspend MS4 discharge access to a person when such suspension is necessary to stop an actual or threatened discharge which presents or may present imminent and substantial danger to the environment, or to the health or welfare of persons, or to the MS4 or Waters of the U.S.  Is the violator fails to comply with a suspension order issued in an emergency, the authorized enforcement agency may take such steps as deemed necessary to prevent or minimize damage to the MS4 or Waters of the U.S. or to minimize danger to persons.

Suspension due to the Detection of Illicit Discharge.

Any person discharging to the MS4 in violation of this ordinance may have their MS4 access terminated if such termination would abate or reduce an illicit discharge.  The City Of ___________ will notify a violator of the proposed termination of its MS4 access.  The violator may petition the authorized enforcement agency for a reconsideration and hearing.

A person commits and offense if the person reinstates MS4 access to premises terminated pursuant to this Section, without the prior approval of the authorized enforcement agency.

00-14. Access and Inspection of Properties and Facilities.

The City ____________ or designee shall be permitted to enter and inspect properties and facilities at reasonable time as often as may be necessary to determine compliance with this ordinance.

(1)  The City Of ___________ shall be permitted to enter and inspect facilities subject to regulation under this ordinance as often as may be necessary to determine compliance with this ordinance.  If a discharger has security measures in force which require proper identification and clearance before entry into its premises, allow access to representatives of the authorized enforcement agency.

(2)  Facility operators shall allow the City Of__________  ready access to all parts of the premises for the purposes of inspection, sampling examination and coping of records that must be kept under the conditions of an NPDES permit to discharge storm water, and performance of any additional duties as defined by state and federal law.

(3)  The City Of ________________ shall have the right to set up on any permitted facility such devices as are necessary in the opinion of the authorized enforcement agency to conduct monitoring and/or sampling of the facility’s storm water discharge.

(4)  The City Of __________________ has the right to require the discharger to install monitoring equipment as necessary.  The facility’s sampling and monitoring equipment shall be maintained at all times in a safe and proper operating condition by the discharger at its own expense.  All devices used to measure storm water flow and quality shall be calibrated to ensure their accuracy.

(5)  The temporary or permanent obstruction to safe and easy access to the facility to be inspected and/or sampled shall be promptly removed by the operator at the written or oral request of the City Of _______________ and shall not be replaced.  The costs of clearing such access shall be borne by the operator.

(6)  Unreasonable delays in allowing the City Of ________________ facility access to a permitted facility is a violation of a storm water discharge permit and of this ordinance.  A person who is the operator of a facility with a NPDES permit to discharge storm water associated with industrial activity commits an offense if the person denies the authorized enforcement agency reasonable access to the permitted facility for the purpose of conducting any activity authorized or required by this ordinance.

(7)  If the City Of ___________________ Has been refused access to any part of the premises from which storm water is discharged, and he/she is able to demonstrate probable cause to believe that there may be a violation of this ordinance, or that here is a need to inspect and/or sample as part of a routine inspection and sampling program designed to verify compliance with this ordinance or any order issued hereunder, or to protect the overall public health, safety, and welfare of the community, then the authorized enforcement agency may seek issuance of a search warrant form any court of competent jurisdiction.

00-15. Notification of Accidental Discharges and Spills

Not withstanding other requirements of the law, as soon as any person responsible for a facility, activity or operation, or responsible for emergency response for a facility, activity or operation has information of any known or suspected release of pollutants or non-storm water discharges from that facility or operation which are resulting or may result in illicit discharges or pollutants discharging  into storm water, the City Of ________________ (MS4) separate storm sewer system, State water, or waters of the U.S., said person shall take all necessary steps to ensure the discovery, containment, and cleanup of such release so as to minimize the effects of the discharge.

Said person shall notify the authorized enforcement agency in person, by phone or by facsimile or e-mail no later than 24 hours of the nature, quantity and time of occurrence of the discharge.  Notifications in person or by phone shall be confirmed by written notice addressed and mailed to the City ________________ or designee within three business days of the phone call or by personal notification.  If the discharge of prohibited materials emanates from a commercial of industrial establishment, the owner or operator of such establishment shall also retain an on-site written record of the discharge and the action taken to prevent its recurrence.  Such records shall be retained for at least three years.  Said person shall also take immediate steps to ensure no recurrence of the discharge or spill.

In the event of such a release of hazardous materials, emergency response agencies and/or other appropriate agencies shall be immediately notified.

Failure to provide notification of a release as provided above is a violation of this ordinance.

00-16. Notice of Violation.

Whenever the City Of ______________ finds that a person has violated a prohibition or failed to meet a requirement of this ordinance, the authorized enforcement agency may order compliance by written notice of violation to the responsible person.  Such notice may require without limitation.

A.  The notice of violation shall be sent via regular U.S. mail or via hand delivery to the owner of the property and any licensee listed under a City business license for the property and said notice shall contain:

(1) The name and address of the parties listed above;

(2) The address when available or a description of the building, structure or land upon which the violation is occurring, or has    occurred;

(3) A statement specifying the nature of the violation;

(4) A description of the remedial action:

(5) A statement of the penalty or penalties that shall or may be assessed against the person or persons to whom the notice of violation is directed; and,

(6) A statement that the determination of violation may be appealed to the City Of _______________ or designee by filing a written notice of appeal within thirty (30) days of service of notice of violation.

B. Such notice may require without limitation:

(1) The performance of monitoring, analyses, and reporting:

(2) The elimination of illicit discharges and illegal connections;

(3) That violating discharges, practices, or operations shall cease and desist:

(4) The abatement or remediation of storm water pollution or contamination hazards and the restoration of any affected property;

(5) Payment of costs to cover administrative and abatement costs; and,

(6) The implementation of pollution prevention practices.

00-17. Appeal of Notice of Violation.

Any person receiving a Notice of Violation may appeal the determination of the City Of ______________.  The notice of appeal must be received within thirty (30) days from the date of the Notice of Violation.  Hearing on the appeal before the City ____________ or designee shall take place within 15 days from the date of receipt of the notice of appeal.  The decision of the City ________________ or designee shall be final.

00-18. Enforcement Measures after Appeal.

If the violation has not been corrected pursuant to the requirements set forth in the Notice of Violation, or, in the event of an appeal, within 15 days of the decision of the City ______________ or designee, then representatives of the City _____________ or designee may enter upon the subject private property and are authorized to take any measures necessary to abate the violation and/or restore the property.  It shall be unlawful for any person, owner, agent or person in possession of any premises to refuse to allow the City Of ______________ or designated City contractor to enter upon the premised for the purposes set forth above.

00-19. Cost of Abatement of the Violation.

Within thirty (30) days after abatement of the violation, the owner of the property will be notified of the cost of abatement, including administrative costs.  The property owner may file a written protest objecting to the assessment or to the amount of the assessment within thirty (30) days of such notice.  If the amount due is not paid within thirty (30) days after receipt of the notice, or if an appeal is taken, within (30) days after a decision on said appeal, the charges shall become a special assessment.  Any person violating any of the provisions of this article shall become liable to the City Of _______________ by reason of such violation.

00-20. Injunctive Relief.

It shall be unlawful for any person to violate any provision or fail to comply with any of the requirements of this ordinance.  If a person has violated or continues to violate the provisions of the ordinance, the authorized enforcement agency may petition for a preliminary or permanent injunction restraining the person from activities which would create further violations or compelling the person to perform abatement or remediation of the violation.

00-21. Appeal of Notice of Violation.

In lieu of enforcement proceedings, penalties and remedies authorized by this ordinance, the City Of _______________ may impose upon a violator alternative compensatory action, such as storm drain stenciling, Attendance a compliance workshops, creek cleanup, or other community service work.

00-22. Violations Deemed A Public Nuisance.

In addition to the enforcement processes and penalties provided, any condition caused or permitted to exist in violation of any of the provisions of the ordinance is a threat to public health, safety, and welfare, and is declared and deemed a nuisance, and may be summarily abated or restored at the violator’s expense, and/or a civil action to abate, enjoin or otherwise compel the cessation of such nuisance may be taken.

00-23. Criminal Prosecution.

Any person that has violated or continues to violate this ordinance shall be liable to criminal prosecution to the fullest extent of the law, and shall be subject to a criminal penalty of $_________ dollars per violation per day and/or imprisonment for a period of time not to exceed______ days.

The authorized enforcement agency may recover all attorneys’ fees court costs and other expenses associated with enforcement of this ordinance, including sampling and monitoring expenses.

00.24. Remedies not Exclusive

The remedies listed in this ordinance are not exclusive of any other remedies available under any applicable federal, state or local law and it is within the discretion of the authorized enforcement agency to seek cumulative remedies.

Article Three

This ordinance shall become immediately effective upon its second reading and adoption the City council.

PASSED AND ADOPTED this _______day of____________,20__, by the following vote: