Illicit Discharge Detection and Elimination

(IDDE) Operations Manual

City of Kearney Public Works Department

Prepared by the

City of Kearney

Public Works Department

10/5/10

Table of Contents

Introduction	4

Chapter 1: City of Kearney’s Program Rational Statement	5

Chapter 2: City of Kearney IDDE Program Overview	7

Chapter 3: NDEQ MS4 Permit Requirements	8

Chapter 4: Prohibiting Illicit Discharges	10

4.1 Neighborhood Focus Areas	10

4.2 Generating Sites (commercial, industrial, and institutional)	10

4.3 Municipal Operations	10

4.4 Permit to work within ROW	10

Chapter 6: Location of Priority Areas	11

Chapter 7: Municipal Separate Storm Sewer System Mapping	20

7.1 Introduction	20

7.2 Data Collection	20

7.3 Outfall Map Creation	20

7.4 Outfall Database	21

7.5 Data to Collect	21

7.7 Numbering System	24

7.8 Storm Sewer Atlas	25

7.9 Record Keeping and File Management for Features Collect Internally Using GPS	25

7.9 Sample Contracted Collections RFP	26

7.10 Current Storm Sewer Features and Receiving Waters Map	27

Chapter 8:  IDDE Program Visual Inspection of the MS4	28

(Outfall Screening)	28

8.1 Outfall Reconnaissance Inventory (ORI)	28

8.2 Kearney Area Stream Segment Map	28

8.3 Summarized Procedures for Conducting the ORI	28

8.4 Using the guidance manual Chapter 11	29

CHAPTER 9: Tracing and Tracking an Illicit Discharge Source- SOP	30

9.1 Using the guidance manual Chapter 13	30

CHAPTER 10: Illicit Discharge Reporting and Response	31

10.1 Reporting	31

10.2 Incident Routing and Response	31

10.3 Material in the Storm Drain	31

If the material is in the storm drain and a known hazardous material, then:	31

CHAPTER 11: Removing the Source of an Illicit Discharge	33

11.1 Compliance Assistance and Enforcement for Illegal Connection to Homes and Businesses	33

11.1a Voluntary Compliance	33

11.1b Enforcement	33

11.2 Proper Construction and Maintenance of MS4s	34

CHAPTER 12: City of Kearney Record Keeping Process	36

CHAPTER 13: EVALUATION OF THE IDDE PROGRAM	37

13.1 Evaluation Strategy	37

Table of Contents Continued

CHAPTER 14: IDDE Program Management Flow Chart	38

CHAPTER 15: ANNUAL REPORTING	39

CHAPTER 16: EDUCATIONAL ACTIVITIES	40

Educational Activities for Illicit Discharges & Reporting Procedures	40

Educational Activities to Promote Proper Management and Disposal of Toxic Materials	40

Promotion of Pollution Runoff Control Procedures at Maintenance Facilities	41

Communication Tools	41

Training Videos	41

Posters	41

Bulletins	41

Website	41

Future Communication Tools	42

Typical Education and Distribution Schedule	42

List of Appendices

Appendix A

Outfall Reconnaissance Inventory Field Sheet

Illicit Discharge Hotline Incident Tracking Sheet

Dye/Smoke Testing Contact Sheet

Appendix B

Chapter 11 of the Center for Watershed Protection IDDE Guidance Manual

Chapter 13 of the Center for Watershed Protection IDDE Guidance Manual

Appendix C

Example Letters

Appendix D

Illicit Discharge Related Educational Brochures

Sample Employee Education Bulletin

Sample Mailer

Appendix E

Current Storm Sewer Features Map

ORI Stream Segment Map

Current ORI Priority Outfalls

# Introduction

The Nebraska Department of Environmental Quality (NDEQ) under direction of the EPA required permit application under the National Pollutant Discharge Elimination System (NPDES) program for Small Municipal Separate Storm Sewer Systems in the state of Nebraska (SMS4).  The NPDES regulations provide the regulatory requirements for the State’s Stormwater permitting programs.  The City of Kearney’s permit application was submitted and became active on January 1st, 2006 at which time the city began it development of programs to satisfy permit requirements under NDPES NER300000 programs.  As a part of the NPDES permit requirements an Illicit Discharge Detection and Elimination (IDDE) program has been developed and is currently in operation within the Public Works Department.  In an effort to continually improve programs developed under the City of Kearney’s Stormwater Management Program this manual was assembled to provide specific direction and layout to the IDDE program operations and goals.  The goal of the manual is to provide a clear understanding of processes, operating procedures, records keeping, enforcement procedures and reporting.  In addition, individuals new to the program, program tracking, and compliance officials will be able to read the manual and follow the program clearly.

# Chapter 1: City of Kearney’s Program Rational Statement

The City of Kearney’s IDDE program has and will continue to be developed as a comprehensive program that will cover all permit requirements.  The goal for this program is to provide clear guidance on pollution control and allow the city enforceable authority in the removal of pollutant sources.  Overall, providing a cleaner, healthier and safer community for the citizens we serve.  The following rational system will provide a further descriptive look into the specific rational requirements of the permit.

The City of Kearney storm sewer mapping program has been a continual processes and has proven to be an resource intensive effort.  Prior to the NPDES program development the city GIS department had started general mapping of the storm sewer system by means of compiling available as-built data from past projects.  This left many gaps in the system layout and a somewhat spotty overall map.  Following this a data dictionary was developed under the stormwater program for the use with Trimble GPS technology.  Collections were done not only in-house by city staff but survey consultants were brought in on certain high traffic areas.  At this point the mapping program is expected to be close to completion and the end of the first permit term.  Future additions to the storm sewer systems will be added to the GIS database using GPS location technology.  The specific collection and processes will be explained later in this document under Chapter 7 Kearney MS4 mapping program.

In the early stages of development it was clear a means of enforcing the IDDE program would be needed.  Consideration was given to all existing nuisance ordinance within the City of Kearney codes.  Many of these ordinances applied to the overall goal of eliminating and/or removing pollutant discharge into the SMS4.  After review of the existing codes of ordinance it was determined that there may be some gaps in regulatory control for the overall program.  A new ordinance was developed specific to the goals of the IDDE program and on January 13th, 2009 the Kearney City Council voted and passed “Ordinance No. 7500, Article 15. City of Kearney Illicit Discharge Detection and Elimination Code.”   A major component of this ordinance was the ability to enforce the programs.  The City of Kearney feel the ordinance addresses all permit requirements and expectations under the NPDES program.  A copy of this ordinance can be found in Chapter 5 City of Kearney IDDE Ordinance No. 7500 within this document.

As part of the IDDE programs multiple programs had to be developed directed to the location, tracking and removal of illicit discharges.  The goal of this manual is to further explain and layout all of these programs.  To date our best resource for finding illicit discharges has been knowledge from our VacCon employees.  Their experience with the systems has allowed us to remove five cross connection in the early stages of our program.  Secondly, the Stormwater Hotline and the Access Kearney site has provided many reports of minor illegal dumping issue that can be addressed on a case by case basis.

The training programs will continue to and have focused on many areas of pollution prevention.  In the past, specific businesses have been directly targeted due to their potential to cause pollutant discharges.  Examples of these are the food industry, auto repair shops, auto body shops and lawn care providers.  In addition the program has produced billboards, distributed fliers, and produced radio PSA, taught at environmental education events and TV commercials targeting the harmful effects of illicit discharges.  The goal to reach a majority of the Kearney audience has been the focus of the education programs.  Public employees will continue with annual training on the NPDES Stormwater programs as a whole, along with reducing pollutant discharge from our own operations.  The education portion of the is program is discussed in detail under Chapter 16: Educational Activities; within this document.

This program will be managed by the Public Works Department, Stormwater Program Manager.  At such time the responsibility to oversee a specific BMP is transferred to another entity this will be added to this manual with specifics.  The evaluation of the overall program will be in a sense a continual process.  If the need arises for changes to any part of the program it will at that time be evaluated for its benefit.  However, the program will be evaluated as a whole at least once a permit terms for needed amendments.

# Chapter 2: City of Kearney IDDE Program Overview

The purpose of the Illicit Discharge Program required under Part IV.B.3. of permit NER 300000, “Illicit Discharge Detection and Elimination,” is to identify and eliminate any discharge to a municipal separate storm sewer (MS4) that is not composed entirely of Stormwater except the following: discharges specifically authorized by a Industrial Storm Water Discharge Permit NER000000 and allowable non-stormwater discharges.

As a requirement of the permit, the City of Kearney shall continue to implement an ongoing program to detect and remove (or advise the discharger to the MS4 to obtain a separate Industrial permit for) illicit discharges and improperly disposed materials into the MS4, in accordance with NPDES regulations.

The City of Kearney began the development of the IDDE programs with a broad scope in mind.  Since discharges from MS4s often include wastes and wastewater from non-stormwater sources.  Illicit discharges enter the MS4 through either direct connections (e.g., wastewater piping either mistakenly or deliberately connected to the storm drains) or indirect connections (e.g., infiltration into the MS4 from cracked sanitary systems, spills, or paint or used oil dumped directly into a drain).  The result is untreated discharges that contribute high levels of pollutants, including heavy metals, toxics, oil and grease, solvents, nutrients, viruses, and bacteria to waters of the state.  The big picture goal of the City of Kearney IDDE program is to provide a cleaner, healthier environment for its citizens and the surrounding community.  For that reason many parts of the program was developed with a broad range of contributing factors in mind.  We are currently not looking for specific pollutants. Rather, we are scouring the systems for the largest contributors (if any) to the degradation of our surface waters.  It is expected that over time it will become clear what pollutants are more common within our city.  At that time we will tailor the education, inspection and testing programs to reduce these types of pollutants to the maximum extent practical.  Beings that the City of Kearney’s programs are new we felt this to be the best approach during the early stages of our efforts to provide a cleaner, healthier and safer environment.

This manual was developed to provide direct overview of how the programs are intended to be operated.  Sections of the manual will provide operations procedures, tracking procedure, investigation procedures, complaint response procedures, reporting procedures and record keeping procedures.  With an overall goal that anyone needing to learn about or investigate elements of the City of Kearney IDDE programs will be able to do so by simply picking up one manual to find any answers about the program necessary.

# Chapter 3: NDEQ MS4 Permit Requirements

Illicit Discharge Detection and Elimination

Permit requirements:

Develop, implement and enforce a program to detect and eliminate illicit discharges (as defined in NDEQ Title 119, Chapter 10 002.02D2 into your Small Municipal Separate Storm Sewer Systems (SMS4);

Develop, if not already completed, a storm sewer system map, showing the location of all outfalls and the names and location of all waters of the state that receive discharges from those outfalls;

To the extent allowable under State or local law, effectively prohibit, through ordinance, or other regulatory mechanism, non-storm water discharges into your storm sewer system and implement appropriate enforcement procedures and actions;

Develop and implement a plan to detect and address non-storm water discharges, including illegal dumping, to your system;

Inform public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste; and

Address the following categories of non-storm water discharges or flows (i.e., illicit discharges) only if you identify them as significant contributors of pollutants to your Small Municipal Separate Storm Sewer Systems (SMS4):

Water line flushing

Landscape irrigation

Diverted stream flows

Rising ground waters

Uncontaminated ground water infiltration (as defined at 40 CFR §35.2005[20])

Uncontaminated pumped ground water

Discharges from potable water sources

Foundation drains

Air conditioning condensation

Irrigation water

Springs

Water from crawl space pumps

Footing drains

Lawn watering

Individual residential car washing

Flows from riparian habitats and wetlands

Dechlorinated swimming pool discharges

Street wash water

Discharges or flows from fire fighting activities are excluded from the effective prohibition against non-storm water and need only be addressed where they are identified as significant sources of pollutants to waters of the state.

You may also develop a list of other similar occasional incidental non-storm water discharges (e.g. non-commercial or charity car washes, etc.) that will not be addressed as illicit discharges. These non-storm water discharges must not be reasonably expected (based on information available to the permittees) to be significant sources of pollutants to the Municipal Separate Storm Sewer System, because of either the nature of the discharges or conditions you have established for allowing these discharges to your Small Municipal Separate Storm Sewer System (SMS4) (e.g., a charity car wash with appropriate controls on frequency, proximity to sensitive water bodies, BMPs on the wash water, etc.). You must document in your SWMP any local controls or conditions placed on the discharges.  You must include a provision prohibiting any individual non-storm water discharge that is determined to be contributing significant amounts of pollutants to your SMS4.

Decision process.

You must document your decision process for the development of a storm water illicit discharge detection and elimination program.  Your rationale statement must address your overall illicit discharge detection and elimination program and the individual BMPs, measurable goals, and responsible persons for your program.  The rational statement must include the following information, at a minimum:

How you will develop a storm sewer map showing the location of all outfalls and the names and location of all receiving waters.  Describe the sources of information you used for the maps, and how you plan to verify the outfall locations with field surveys.  If already completed, describe how you developed this map. Also, describe how your map will be regularly updated.

The mechanism (ordinance or other regulatory mechanism) you will use to effectively prohibit illicit discharges into the Small Municipal Separate Storm Sewer System (SMS4) and why you chose that mechanism.  If you need to develop this mechanism, describe your plan and a schedule to do so.  If your ordinance or regulatory mechanism is already developed, include a copy of the relevant sections with your program.

Your plan to ensure through appropriate enforcement procedures and actions that your illicit discharge ordinance (or other regulatory mechanism) is implemented.

Your plan to detect and address illicit discharges to your system, including discharges from illegal dumping and spills.  Your plan must include dry weather field screening for non-storm water flows and field tests of selected chemical parameters as indicators of discharge sources.  Your plan must also address on-site sewage disposal systems that flow into your storm drainage system.  Your description must address the following, at a minimum:

Procedures for locating priority areas which includes areas with higher likelihood of illicit connections (e.g., areas with older sanitary sewer lines, for example) or ambient sampling to locate impacted reaches.

Procedures for tracing the source of an illicit discharge, including the specific techniques you will use to detect the location of the source.

Procedures for removing the source of the illicit discharge;

Procedures for program evaluation and assessment.

How you plan to inform public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste.  Include in your description how this plan will coordinate with your public education minimum measure and your pollution prevention/good housekeeping minimum measure programs.

Who is responsible for overall management and implementation of your storm water illicit discharge detection and elimination program and, if different, who is responsible for each of the BMPs identified for this program.

How you will evaluate the success of this minimum measure, including how you selected the measurable goals for each of the BMPs.

# Chapter 4: Prohibiting Illicit Discharges

As the NPDES permit specifies, a municipal ordinance or other regulatory mechanism must be created to comply with Phase II regulations and must include a prohibition of illicit discharges and an enforcement mechanism. Note that it is also essential for the city to establish legal authority to inspect properties suspected of releasing contaminated discharges into the MS4.  The City of Kearney has created and adopted an ordinance that will prohibit illicit discharges to our MS4, as well as enforce the elimination of any illicit discharge that may occur. Prohibiting Illicit Discharges within the City of Kearney will be done in multiple ways.  Our program will focus on three sectors of the community; neighborhoods, likely generating sites, and municipal operations.  The actions to prevent illicit discharges from these areas are being addressed by a number of programs and through the legal regulatory mechanisms provided in this document.

## 4.1 Neighborhood Focus Areas

Public Education: Billboards, Flyers, TV Commercials, Promoted at public events

Storm Drain Stenciling Program and distribution of educational flyers

Public Reporting Hotline and Email

Street Sweeping and Storm Sewer System Cleaning

Household Recycling Program

Used oil, paint, batteries, etc. Recycling Stations

Utility Department provides neighborhood clean up dumpsters twice a year.

## 4.2 Generating Sites (commercial, industrial, and institutional)

Public Education and Outreach

Spill Response

Site Inspections to Reported Pollution Issues

## 4.3 Municipal Operations

Annual Stormwater Training

Storm Sewer and Storm Drain Cleaning

Street Sweeping

Hot Spot Facility Evaluations

Provide Recycling Services to Citizen’s

## 4.4 Permit to work within ROW

The City of Kearney Development Services Department requires that all individuals that will perform work within the ROW obtain a permit to do so.  Along with that permit inspections will be done in association with some of the activities.  These activities may include curb cuts, sidewalks, and most importantly connections to the storm sewer system.  Any allowable connections will be inspected to insure they are not brining and illicit discharges into the system along with the proper connection procedures.  Although this is a rare occurrence when they do happen the Stormwater Program Manager must be contacted if the connection will be difficult to locate in the future.  At that time it will be located using GPS collections and entered into the GIS system.

# Chapter 6: Location of Priority Areas

6.1  Identifying Priority areas

The City of Kearney staff will develop priority areas that are considered to be likely sources of illicit discharges. The following guidelines are considered while identifying priority areas for the city:

- Commercial/industrial areas. These areas have been found in some communities’ IDDE programs to (a) have significant numbers of illicit connections and/or (b) have discharges with a high potential to affect water quality (Tuomari, 1999 and Pitt et al., 1993). Specific business sectors can be prioritized (e.g., businesses subject to waste water pretreatment rules, businesses falling under certain Standard Industrial Classification [SIC] codes, or business sectors with a record of enforcement actions). A large portion of the cities industrial areas are contained within one common drainage area.  The discharge point for the oldest commercial/industrial area in Kearney has been part of the water sampling program for three years now.  It is not foreseen that many additional high risk areas under this category will be found.  However, other smaller commercial/industrial areas may be candidates for a priority area.

- Older areas of the Town. Older development may predate more stringent construction codes regarding illegal connections and may have deteriorating sanitary sewer and/or storm sewer infrastructure that can lead to infiltration problems.

- Areas where there have been repeated complaints. Areas where illegal dumping or apparently contaminated discharges have been reported are obvious priority targets. The Access Kearney system will assist with evaluating areas where repeated complaints occur.

- Locations identified from public complaint or areas staff knows to have frequent illicit discharge issues. The locations of high levels of particular contaminants (e.g., bacteria) can help to target priority outfalls. Good resources for this information are the periodic water quality assessment reports (“305(b) reports”) and lists of impaired water (“303(d) lists”) that the CWA requires each state to prepare and submit to the EPA.  As a part of city staff many of the individuals that operate the storm sewer cleaning, street sweepers and are constantly working throughout the community have a vast knowledge of the possible areas illicit discharges may be likely.  These areas have been evaluated and any cross connection was removed.

6.2  Priority areas identified by the City of Kearney

Using the guidelines provided above, the City of Kearney staff identified the following

priority areas within the cities Phase II Permit boundaries:

- Commercial/Industrial area between Highway 30 and 39th St., and from Ave. N and Antelope Ave.  This area drains to the twin 60” outfall located at the NE corner of Antelope and Highway 30.  This outfall has been monitored as part of the sampling program.

- Downtown commercial area located from 2nd Ave to Ave. B, and from 25th St. to Railroad St. West.

- Residential area located from 25th St. to 29th St. and from 2nd Ave. to 9th Ave.

# Chapter 7: Municipal Separate Storm Sewer System Mapping

## 7.1 Introduction

As part of the NPDES Phase II MS4 permit, permittees, are required to “develop, if not already completed, a storm sewer system map, showing the location of all outfalls and the names and location of all waters that receive discharges from those outfalls.” The map is to be used to assist permittees in completing the illicit discharge detection and elimination minimum control measure as outlined by the Environmental Protection Agency (EPA) and the Nebraska Department of Environmental Quality (NDEQ).

Permittees need to identify the locations of storm sewer pipes, culverts, inlets, outfalls, ditches, and swales. Some areas already have outfalls recorded that we use for storm water conveyance operations. Some data is stored in a non-digital format.

Since past projects have added to the current created outfall database and storm sewer atlases, there is little chance that all databases will be consistent. As part of the City of Kearney IDDE program we anticipate modifying all of the different datasets that have been created into a GIS format. The main objective of the program is to ensure that all future mapping efforts complete the mapping database and do so with similar features.

## 7.2 Data Collection

The City of Kearney IDDE program will consolidate all the information that has been gathered by City of Kearney staff and other entities. This will include outfall points, inlets, and storm sewer pipes. The consolidation process will not be an attempt to convert the data to a single database, but instead be an activity in housing the different databases into one master geodatabase. The creation of the map will be a collaborative process utilizing all available knowledge. Once this map has been completed it will be maintained by City of Kearney and utilized in the illicit discharge monitoring program.  City of Kearney will maintain the outfall point database and continued maintenance of the storm sewer atlases. City of Kearney will take receipt of new projects utilizing the storm sewer conveyance systems and incorporate them into the program.

## 7.3 Outfall Map Creation

City of Kearney has begun the process of identifying discharge points throughout our drainage conveyance system. We are outlining the methods that were used in this collection process and the information we will be including in our storm sewer system database.

City of Kearney has created a preliminary NPDES outfall map. The map was created using a variety of different methods. The remainder of the system in our watershed shall be mapped by the use of Trimble GPS units and a review of historical City of Kearney storm sewer data. In anticipation of the inadequacies of the initial storm sewer outfall map we envision the following process to take place:

City of Kearney will be responsible for updating the master NPDES outfall map to reflect any changes that have been agreed upon. City of Kearney will remove all outfalls that are verified non-existent. City of Kearney will also add any outfalls not represented in the database.

As the completeness of the municipal maps will not be consistent, field crews will walk a portion of the system in an attempt to locate unknown or new outfalls. This work should be complete after the first 3 years of the program.

In addition to the outfall database, City of Kearney will begin developing a comprehensive storm sewer atlas. This atlas will assist in the tracking of illicit discharges and assist with enforcement measures.

The following section will outline the procedures City of Kearney will follow in creating, maintaining, sharing, and updating their outfall database. It will provide recommended procedures as to how the permittees and City of Kearney will coordinate database maintenance. In addition to outlining the plan for managing the outfall database, this will outline the recommended standards when creating, maintaining, sharing, and updating storm sewer maps.

## 7.4 Outfall Database

City of Kearney will house and maintain an NPDES outfall database. The database will be in an ESRI geodatabase format and include all known outfalls throughout City of Kearney. The database will be tied to City of Kearney’s ASIST database, where all inspection, fines, and reporting information will be tied to the outfall location. The database will consist of a point feature class with each point representing a location where stormwater discharges into a waterway.

City of Kearney has adopted a numbering system that can be used by all municipalities throughout the County. The numbering system relies on the geographic coordinates of the outfalls. The NAD 83 State Plane coordinate Northing and Easting values are concatenated together to create a unique id. The common digits are removed and the number is limited to one significant decimal. Presuming that there should be no outfalls within a tenth of a foot of each other, each outfall is thus coded with a unique id.

## 7.5 Data to Collect

The following is a list of the attributes that City of Kearney will collect or verify for each inlet, manhole, conveyance structures, ditches, and outfalls. Some of these attributes will be done in the office utilizing GIS.

7.6 Storm Sewer Outfall Data Dictionary

Inlet 				Point Feature, Label 1 = Type, Label 2 = Marker affixed

-Type 				Menu, Normal, Normal

Curb Default

Grate

FES

Area

-Outflow Pipe Size 		Menu, Normal, Normal

12

15

24

36

48

56

60

-Outflow Pipe Direction 	Menu, Normal, Normal

North

South

East

West

NW

NE

SE

SW

-Pipe material 			Menu, Normal, Normal

RCP

Clay

PVC

Other

-Marker affixed 		Menu, Normal, Normal

Yes

No

-Opening size 			Menu, Normal, Normal

4

6

8

10

12

15

2 X 2

4 X 4

other

-Comments 			Text, Maximum Length = 100

Normal, Normal

-Date 				Date, Auto generate Create and Update, Day-Month-Year Format

Normal, Normal

-Time 				Time, Auto generate Create, 24 Hour Format

Normal, Normal

-Evidence of Illicit 		Menu, Normal, Normal

Yes

No

Need Investigation

Outfall 				Point Feature, Label 1 = Size, Label 2 = Quantity

-Size 				Menu, Normal, Normal

4

6

8

12

15

18

24

36

48

60

-Quantity 			Menu, Normal, Normal

Single 		Default

Twin

Triple

-Receiving Water 		Text, Maximum Length = 100

Normal, Normal

-Date 				Date, Auto generate Create and Update, Day-Month-Year Format

Normal, Normal

-Time 				Time, Auto generate Create and Update, 24 Hour Format

Normal, Normal

-Material 			Menu, Normal, Normal

RCP 		Default

PVC

Steel

Clay

Plastic

Other

-Evidence of Illicit 		Menu, Normal, Normal

Yes

No

Need Investigation

Manhole 				Point Feature, Label 1 = Lid type, Label 2 = structure material

-Lid type 			Menu, Normal, Normal

Solid 		Default

Vented

No dump lid

-Structure material 		Menu, Normal, Normal

Brick

Precast

Cast in place

-Outflow size 			Menu, Normal, Normal

12

15

24

36

48

56

60

-Outflow direction 		Menu, Normal, Normal

North

South

East

West

NW

NE

SE

SW

-Pipe material 			Menu, Normal, Normal

RCP

Clay

PVC

Other

-Rim to FL depth 		Text, Maximum Length = 30

Normal, Normal

-Date 				Date, Auto generate Create and Update, Day-Month-Year Format

Normal, Normal

-Time 				Time, Auto generate Create and Update, 24 Hour Format

Normal, Normal

-Number of Inflows 		Menu, Normal, Normal

1 		Default

2

3

-Evidence of Illicit 		Menu, Normal, Normal

Yes

No

Need Investigation

Conveyance Structure 		Point Feature, Label 1 = Structure Description

-Structure Description 	Text, Maximum Length = 100

Normal, Normal

Open Channel 	Line Feature, Label 1 = Average bottom width, Label 2 = Average top width

CL when possible

-Average bottom width 	Numeric, Decimal Places = 0

Minimum = 0, Maximum = 100, Default Value = 0

Normal, Normal

-Average top width 		Numeric, Decimal Places = 0

Minimum = 0, Maximum = 100, Default Value = 0

Normal, Normal

-Date 				Date, Auto generate Create, Day-Month-Year Format

Normal, Normal

-Time 				Time, Auto generate Create, 24 Hour Format

Normal, Normal

## 7.7 Numbering System

Currently, new features are added to the system in a sequential order.  There is nothing specific in regard to the location of the feature.  The numbering system is however broken into numbering sets to specify the differences between feature items (e.g., inlets, outfalls, manholes).  For example inlet features being with 5000 series numbers. We believe this will be a suitable system, if the current numbering system does not seem suitable we will need to discuss other methods.

## 7.8 Storm Sewer Atlas

In addition to knowing the locations of all known outfalls, a storm sewer atlas will be necessary to locate the source of a discharge more efficiently. If the associated pipe network upstream of an outfall is not known, it will become very costly to locate the offending violator. The storm sewer atlas will help determine the extent of the discharge and the possible sources of the discharge. This atlas will become a critical piece of the program once an illicit discharge is detected.

In order to cost effectively trace illicit discharges, City of Kearney will require asbuilts for all new construction be added to the database as soon as possible. It is required that all storm sewer information provided to City of Kearney be in a GIS compatible digital format. If shapefiles or feature classes are provided they must be in the NAD_1983_StatePlane spatial reference system. Once data is received from the development, the City of Kearney will integrate the data into a master database. The update will be given to City of Kearney at project completion.

City of Kearney will simply store the storm sewer data received from the community. The consolidation of all storm sewer atlases will help City of Kearney locate illicit discharges. In addition, this information will help pinpoint the offending discharger. The communities will lay claim to all said storm sewer data.

## 7.9 Record Keeping and File Management for Features Collect Internally Using GPS

At any point that an area of the city is collected using the Trimble Geo XH handheld GPS units owned by the City of Kearney the following procedures will be utilized to assure the files are managed and downloaded into the system correctly.

Following the collection:

- Dock unit in the office of the Stormwater Program Manager

- Open GPS Pathfinder program

- Transfer files to the default file storage. C:\Documents and Settings\aharter\My Documents\GPS Projects

- Open file and execute the differential correction process

- Open corrected file and Export it as a shape file to the following shared drive to allow access to the file: S:\GPS-GIS\Public Works

- Move original file, corrected file and text files to the completed folders.

- Notify the GIS department of the new file transfer for inclusion into the GIS database.

It is vital to the program that these processes be followed and kept current in order to keep an accurate record of any additions or deletions to the storm sewer systems.

## 7.9 Sample Contracted Collections RFP

City of Kearney Storm Sewer Collection and GIS Project Outline

10/27/2009

Purpose and Scope of the project:

The purpose of this project will be to provide geospatial data collection of public City of Kearney Storm Water conveyance system features.

The engineer must utilize the existing GIS horizontal coordinate system, Nebraska State Plane (NAD83) and vertical datum of NAVD88.  The storm water system features must be captured by surveying with GPS technology and equipment.  The accuracy level of captured features should be within 0.05 feet horizontal and vertically, or limits approved by the City of Kearney.  Collection crew must be familiar with storm sewer systems and aware of any cross connection possibilities of concern.  This project will consist of a large amount of system observation and tracking of unknown system locations.

Data Collection:

The Storm Water GIS future to be surveyed will include the following:

- Inlets (Center of throat opening)

- Junction Manholes (Center of MH)

- Outfall Structures (FES, End of Pipe, concrete letdown, etc.)

- Conveyance Structure (drainage canals, culverts, detention cells)

The following data would be collected at the time of GPS field survey:

- Inlets and JMH’s

  - Rim elevation (from GPS)

  - Flow line elevation of structure

  - Outflow direction and size

  - Number of Inflows

  - Type of structure material

- Outfalls

  - Flow line elevation

  - Dumps to (river, ditch, lake, detention cell)?

  - Type of outfall (FES, pipe only, letdown structure, ditch)

- Discharge Status (at time of survey)

  - Discharge Present (Yes/No)

  - Odor Present (Yes/No)

  - Illegal Cross-Connection Suspected (Yes/No)

*suspected cross connections must be reported to the Stormwater Program Manager

- Other conveyance structures

  - Drainage canals (centerline, estimated top and bottom width) where possible

  - Box culverts (beginning and end points, type)

- No survey will be completed on pipe sections between structures. Location will be based on analysis of collected data on a point A to point B basis.

- All data will be delivered in shape (shp) files compatible with ArcGIS approved by City of Kearney GIS department.

## 7.10 Current Storm Sewer Features and Receiving Waters Map

SEE APPENDIX E

# Chapter 8:  IDDE Program Visual Inspection of the MS4

# (Outfall Screening)

## 8.1 Outfall Reconnaissance Inventory (ORI)

For the Standard Operating Procedures of this section of the program the City of Kearney has chosen to use Chapter 11 of the Illicit Discharge Detection and Elimination guide produced by the Center for Watershed Protection, October 2004.  Sections of this chapter will be used unless indicated omitted as provided within this document.  The Center for Watershed Protections manual can be referred to for needed equipment, procedures and for field sheets. Chapter 11 can be found in Appendix B of this manual.

As stated in the manual an evaluation of all stream miles and outfalls located within the City of Kearney will be the goal set to complete within the first permit term.  Currently, fourteen major outfalls have been identified and evaluated using the investigation formwork and processes presented in Chapter 11 of the IDDE manual.  These investigations can be located in the following file location. (K:\NPDES Program Files\Illicit Discharge Detection and Elimination (IDDE)\Outfall Reconnaissance Inventory)

## 8.2 Kearney Area Stream Segment Map

In order to assure that all outfalls are mapped and evaluated for illicit discharges full stream walks are planned for the fall/winter of 2010.  Stream segments have been identified throughout the city.  Eighteen total segments have been identified along with two local lake perimeters.  These segments are indicated on the Preliminary Stream Segment Map located within this manual. (APPENDIX E)

## 8.3 Summarized Procedures for Conducting the ORI

- Gather equipment listed in ORI chapter

- Check the last ID number in the “Kearney IDDE Tracking and ORI” database

  - This number will run sequentially for identifying outfalls.

- Send out press release informing all city staff of area surveys will be occurring

- Conduct survey with minimum of two employees

- Begin survey at designated location and record beginning point with GPS

- Carefully walk upstream looking for any contributing outfalls

- Once an outfall is located mark it’s location with the Trimble GPS

- Complete the eight section ORI field sheet for the outfall

- Photograph the outfall and record photo number

- If there is an obvious illicit discharge attempt to track it immediately

- If no discharge is present continue ORI upstream and repeat collection at each outfall

- Once you have reached the designated segment end point record its location with GPS

- Return to PW department and record ORI data

- Correct and transfer all GPS data, following process indicated in Section 7.9 “Record Keeping and File Management for Features Collect Internally Using GPS” of this manual

- Transfer all ORI field sheets to the “Kearney IDDE Tracking and ORI” database. Located: K:\NPDES Program Files\Illicit Discharge Detection and Elimination (IDDE)

- Download all outfall pictures into proper location

- Charge GPS unit

- Clean and Store all ORI equipment

- Schedule any needed tracking events or follow-up inspections

## 8.4 Using the guidance manual Chapter 11

The information presented in Chapter 11 of the IDDE guidance manual can be used as a complete reference for the ORI operations.  Not only with this section provide guidance on identifying discharges, but it will provide important information on using stream and ORI data to categorize IDDE problems.  All of the processes that may be needed for an illicit discharge investigation are explained in detail within this chapter.

# CHAPTER 9: Tracing and Tracking an Illicit Discharge Source- SOP

## 9.1 Using the guidance manual Chapter 13

Once an illicit discharge is found, a combination of methods may be used to isolate it specific source.  Investigation procedures done by the City of Kearney will follow the procedures as written in Chapter 13 of the Center for Watershed Protections IDDE Manual.  Most commonly the investigation procedures followed with is Storm Drain Network Investigation and/or On-site Investigations. As described in the manual.

- Chapter 13 of CWP IDDE Manual can be located in Appendix B of this manual.

# CHAPTER 10: Illicit Discharge Reporting and Response

The following procedures identify actions and internal reporting responsibilities to be taken by city employees in the event of an illicit discharge into City of Kearney storm sewer system.

## 10.1 Reporting

When a city employee encounters an illicit discharge:

Step 1.   They should be prepared to observe and report the following information:

− Location of incident.

− Observe and size-up incident from safe distance

− Try to recognize suspicious activities in area.

− Possibly note names and contact information for people involved in incident.

− Type of material. If the material cannot be safely identified, keep a safe distance from suspected illicit discharge and avoid contact.

When a citizen reports a suspected illicit discharge, general questions should be asked about the illicit discharge such as the location and visual characteristics of the incident. City of Kearney forces will further investigate the incident to determine what, or if, additional actions are necessary.

Step 2.	Call the City of Kearney Illicit Discharge hotline to report incident. The number is:  308-233-3273

The hotline person will fill out an initial tracking form with basic information provided by the reporting person. This information will include observational data from Step 1 above.

## 10.2 Incident Routing and Response

After the incident is reported to the hotline, the call will be routed to the appropriate city personnel for further action based on questions addressed to the person reporting the incident.

The first set of questions to ask:

1. Is the material in the storm drain or waterway?

2. Is it just on the roadway?

3. Or is the material both on the roadway and in the storm drain?

If the material is contained within the storm drain or waterway, it is categorized as an illicit discharge. Similarly, if material spilled on the roadway is spreading from the roadway surface into the storm drain, then it is an illicit discharge. Further questions need to be asked to assess the type of illicit discharge and identify appropriate actions that need to be taken.

1. Is the illicit discharge a known hazardous material?

2. Is the illicit discharge a known non-hazardous material?

3. Or is the illicit discharge unknown and cannot be safely identified?

## 10.3 Material in the Storm Drain

## If the material is in the storm drain and a known hazardous material, then:

Step 1. 	The incident will be reported immediately to the Stormwater Program Manager, if unavailable then a Public Works representative should be contacted. If both are unavailable, call 911 immediately.  The Stormwater Program Manager or Public Works representative will notify the Nebraska State Patrol Dispatch (24-hour hotline: 1-402-471-4545) to address the problem until a remediation contractor is at the scene of the incident.

Step 2. 	The Stormwater Program Manager or representative will fully document the illicit discharge with the tracking form.  The Stormwater Program Manager will report incident if required, to the proper officials within 24 hours and submit a written notification to the NDEQ within 30 days. The NDEQ will report releases of petroleum products and certain hazardous substances listed under the Federal Clean Water Act (40 CFR 116) to the National Response Center immediately (24-hour hotline: 1-800-424-8802).

Step 3. 	The city in conjunction with state officials will notify downstream entities of the illicit discharge and will take further follow-up action and, if necessary, enforcement action against offending parties.

# CHAPTER 11: Removing the Source of an Illicit Discharge

Introduction

Because there are various sources of illicit discharges to the storm sewer system, there are different kinds of actions the city may have to take to remove those sources and prevent future illicit discharges. This chapter groups those actions into three categories: compliance assistance and enforcement for illegal connections to homes and businesses; proper construction and maintenance of MS4s; and responding to and preventing illegal dumping.

## 11.1 Compliance Assistance and Enforcement for Illegal Connection to Homes and Businesses

There is a range of ways in which the City of Kearney may wish to handle the removal of illegal connections between homes or businesses and the storm sewer system.  Enforcement measures are spelled out in the required IDDE enforcement mechanism (see Chapter 5), but the city will use judgment about what mix of compliance assistance and enforcement actions is appropriate in a given situation. Typically, the city responds to the discovery of an illegal connection in a graduated manner, beginning with efforts to obtain voluntary compliance and escalating to increasingly severe enforcement actions if compliance is not obtained.

## 11.1a Voluntary Compliance

Often, home or business owners are not aware of the existence of illegal connections between their buildings and the storm sewer systems. In these cases, providing the responsible party with information about the connection, its environmental consequences, the applicable regulations, and how to remedy it may be enough to secure voluntary compliance. The cost of removing the connection and reconnecting it to the sanitary sewer system can be an obstacle.

## 11.1b Enforcement

Based upon the findings of the Public Works Stormwater official it may be necessary to proceed with the following IDDE enforcement steps through the City of Kearney Code

Enforcement Division as defined in the City of Kearney Municipal Code:

- If the discharge of dumping has been deemed a threat to Public Health, Safety and/or Welfare, and/or poses a threat to public property based upon an investigation by the Public Works Department, the violation may be abated immediately without prior notification. The city maintains the right to recoup any costs associated with the abatement of this violation.

- Otherwise, a Notice of Violation will be personally served to the property owner, contractor and/or any parties responsible for creating the violation(s); and/or the property may be posted giving 24 hours or sooner to abate the violation. If there is no compliance within the time given, the City of Kearney may abate this violation at the expense of the property owner, contractor or parties creating the violation. A summons to Municipal Court or criminal charges may also be issued.

- If the discharge or dumping is not a threat to Public Health, Safety, and/or Welfare, or there is no threat to public properties a Notice Violation shall be sent certified mail to all responsible parties, including the property owner, contractor, and/or parties creating the violation. The department will then follow the procedures as defined in the City of Kearney Municipal Code and Code Enforcement standard procedures.

In addition, the City of Kearney may seek enforcement action from Buffalo County, State or Federal authorities if the violation impacts other resources or the violation source is outside of the Cities Boundaries.

## 11.2 Proper Construction and Maintenance of MS4s

Some illicit discharge problems may be the responsibility of the City of Kearney sanitary sewer utility department.  These problems include cross-connections between the sanitary sewer and storm sewer systems and infiltration into damaged or deteriorating storm sewer pipes.

Cross-connections between a sanitary sewer and the cities MS4 may exist by mistake, because of deterioration over time, or as part of the design in an antiquated system. Complete and accurate maps of the sanitary sewer and storm sewer systems can help identify these cross-connections and prevent them during any new construction that takes place.

Contamination can infiltrate into a cracked or leaking MS4 from leaking sanitary sewer pipes, failing septic systems, or contaminated groundwater. To help prevent this, both MS4s and sanitary sewer systems should be inspected periodically and maintained properly to keep them in good repair.

11.3 Preventing and Responding to Illegal Dumping

It is often difficult to identify and locate the individual(s) responsible for illegal dumping; therefore, our program to address illegal dumping will focus on education and prevention, backed up by enforcement to the extent possible.

The following key strategies can be used to prevent illegal dumping:

- Site maintenance and controls. Measures should be taken to clean up areas where illegal dumping has taken place, and controls such as signs or access restrictions should be used, as appropriate, to prevent further dumping.

- Community outreach and involvement. Outreach is the linchpin of an illegal dumping prevention program and can include the following components:

  - Educating businesses, Town, Special District employees, and the general public about the environmental and legal consequences of illegally disposing of waste into the MS4.

  - Providing and publicizing ways for citizens to properly dispose of waste.

  - Providing opportunities for citizens to get involved in preventing and reporting illegal dumping.

- Targeted enforcement. This strategy includes city prohibition against illegal dumping backed up by law enforcement.

- Program measurement. Tracking and evaluation methods will be used to measure the impact of illegal-dumping prevention efforts and determine whether goals are being met.

Some specific methods that the Town might use to implement these strategies include the following:

- Site maintenance and controls

  - Storm-drain stenciling program.

  - Spill-response plans for hazardous-waste spills.

- Community outreach and involvement

  - The Stormwater Hotline (308-233-3273).

  - Pollution Prevention web sites (Nebraska H2O, and Cities web site)

  - Outreach to business sectors that handle hazardous materials and/or have a history of illegal-dumping problems; outreach should include information on BMPs for spill prevention and proper waste disposal.

  - Printed outreach materials for the public.

  - Publicizing of waste-disposal options, such as used oil recycling and household hazardous waste collections.

- Targeted enforcement

  - An illegal-dumping regulatory mechanism.

  - Surveillance of known illegal-dumping locations.

  - Training of City employees on identifying and reporting illegal dumping.

- Program measurement

  - Tracking of incident locations.

Compilation of statistics (e.g., any cleanup costs, facility compliance, fines, complaints).

# CHAPTER 12: City of Kearney Record Keeping Process

In the event of a reported Illicit Discharge by either a citizen or a city employee the following process must be used to keep records complete and accurate.  All City of Kearney employees charged with tracking Illicit Discharge reports and/or investigation will be informed on where the proper documents must be stored for proper tracking.

Record Keeping:

- When a call or complaint is received record the complaint within the following Access Data base: L:\NPDES Program Files\Illicit Discharge Detection and Elimination (IDDE) using an Illicit Discharge Incident Tracking Form.

- Create a separate project file for each reported IDDE under the following area: (L:\NPDES Program Files\Illicit Discharge Detection and Elimination (IDDE)\Reported Illicit Discharge Cases)

- Record project by year and sequential ID # under the Illicit_Complaint_Reports_Quick list.xls file.

- Create new folder for reported discharge under current year folder.

- Copy completed Tracking sheet in new illicit discharge folder.

- All new reports will have their own folders.  All information regarding each report will be kept under the project folder (i.e. follow up inspections, investigation photos, letters to responsible party, violation actions, etc.)

- A follow up inspection will be scheduled by the original investigator (on their office reminder system) when needed.

- Complete the follow up inspection form and store under report file.

- Common minor illicit discharge reports may be kept in a single folder.  These complaints are classified as ones that are commonly received and usually require a letter sent to the responsible party that notifies them not to continue the practice.  These type of incidents are commonly resolved with first contact.

  - Grass blown into the street.

  - Residential landscaping or minor yard repair runoff.

  - Minor leaks on parked vehicles.

Paper form copies of the incident should be kept in separate files until such time the incident is resolved and up to three years.  Scanned copies of the incident can be made and stored in the electronic files.  Post 2010 all files will be kept electronically and paper copies will be disposed of at the beginning of each year.

Related Form Work: See Appendix A

Illicit Discharge Tracking Sheet

Follow up Investigation Sheet

Smoke or Dye Testing Contact Sheet

Illicit Discharge Detection and Elimination Ordinance

# CHAPTER 13: EVALUATION OF THE IDDE PROGRAM

Introduction

The NDEQ recommends that the IDDE component include procedures for program evaluation and assessment. Program evaluation is the time to step back, look at what has been done, determine what worked and what didn’t, and make adjustments to planned future actions as appropriate in the City of Kearney. This final component of the IDDE Manual outlines how we will go about evaluating the IDDE Program.

## 13.1 Evaluation Strategy

Evaluation procedures will include documentation of actions taken to locate and eliminate illicit discharges. Such documentation may include numbers of outfalls screened, complaints taken and investigated feet of storm sewers videotaped (if any), numbers of discharges eliminated, and number of dye or smoke tests conducted (if any). Note that this component of the IDDE Manual fits in with the overall Phase II requirements for identifying measurable goals for each BMP and reporting on progress toward achieving those goals. Determining the impact of these actions is more of a challenge, but it is an important part of the overall process because the NDEQ allows for adjustments to the stormwater management program over the life of the permit. Assessment of what worked and what didn’t provide the information needed to make these adjustments to the City of Kearney IDDE Program.

Some steps for assessing the effectiveness of the cities IDDE strategies include:

- Evaluate the number of possible illicit discharges that were detected using different detection methods, to help determine which detection methods are most effective.

- Evaluate the number of discharges and/or quantity of discharges eliminated using different possible enforcement and compliance measures.

- Program evaluation will also include procedures for considering efficiency and feasibility. Questions to answer include:

  - How much staff time and expense did it take to achieve a given result?

  - Were practical difficulties encountered with this approach? What were they, and how much of a problem did they present?

The strategies listed above are only suggestions. Because the City of Kearney is allowed a great deal of flexibility in determining what procedures it will use for program evaluation and assessment, the procedures that will be most helpful in providing the information needed to move forward with the IDDE Program will be decided as the Program develops.

Program evaluation will be done at least once every permit term.  However, this will not limit the operators of the programs in changing needed procedures at anytime, if the need for adjustment is discovered.

# CHAPTER 14: IDDE Program Management Flow Chart

*Everyday program operation.

All City of Kearney are trained on spill response and the need to report discovered illicit discharges to the program manager. 	It should be know by all city departments that when first receiving an illicit discharge report all information on the discharge should be forwarded to the Public Works Department immediately.  When forwarding information on a discharge the following chain should be used for first contact, starting with the Stormwater Program Manager.  If not available continue down the list.

- Stormwater Program Manager

- Engineering Technician

- Public Works Secretary

- City Engineer

- Street Superintendent

- Director of Public Works

# CHAPTER 15: ANNUAL REPORTING

Specifically, Kearney will report, on an annual basis in the Annual Report, the number of inspections performed by the city for possible illicit discharges and whether an illicit discharge was confirmed.

The City of Kearney will provide, in the Annual Report a narrative status of the mapping effort and the number of outfalls mapped. The city will also report any changes to the protocols for ongoing field screening, mapping, and the reason for the changes.

The number of illicit discharges reported and the actions taken. Specifically, the city will report the number of instances when possible illicit discharges were found to be actual illicit discharges. The non-illicit discharges will be characterized (i.e. permitted discharge, irrigation return flow, stormwater).

The number and type of enforcement actions required will also be included in the annual report.

The number of educational activities undertaken to promote public reporting of illicit discharges and improper disposal and to promote proper management and disposal of toxic materials will be included in the Annual Report.

The number of educational activities undertaken to promote public reporting of illicit discharges and improper disposal and to promote proper management and disposal of toxic materials will be included in the Annual Report.

# CHAPTER 16: EDUCATIONAL ACTIVITIES

The City of Kearney has developed an Educational Program as a component of its MS4 Permit. Our communications and education efforts have sought to create awareness of the various MS4 program measures which include the Illicit Discharge program. The educational program outreach effort targets appropriate opportunities, such as promotional billboards, business specific mailings, internal employee training, and other various means.  Kearney’s Illicit Discharge educational program is targeted primarily toward employees.  As the program develops further, we will look for ways to broaden the audience. The general public is being reached through distribution of educational materials. The extent of the program will depend upon available funding.

## Educational Activities for Illicit Discharges & Reporting Procedures

Kearney’s Illicit Discharge Program addresses the requirements of Part IV.B(3)(a)(2) of the MS4

Permit. The program includes:

• Inform Public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste.

These program communications cover information about:

• Defining what an illicit discharge consists of,

• What distinguishes an illicit discharge,

• Identifying the telltale signs of an illicit discharge,

• Warning against dumping motor vehicle fluids and toxic materials into stormdrains,

• Encouraging reporting of potential illicit discharges via the hotline, and

• Explaining what should be noted when reporting a potential discharge, including:

− Location where potential discharge is observed,

− Description of the suspected illicit discharge, and

− Any other site-specific relevant information.

Various communications tools have been, and will continue to be, used to increase awareness and understanding of the need for reporting potential illicit discharges. These tools are described later in this section. As necessary, these tools will be updated and new communication techniques will be implemented.

## Educational Activities to Promote Proper Management and Disposal of Toxic Materials

Kearney’s program to promote proper management and disposal of toxic materials addresses the requirement of the MS4 Permit. This program area focuses on educating employees on the proper procedures to reduce pollutants and ways to identify areas that we can reduce the probability for illicit discharges from our operations.

To address these items/actions, the Program consists of:

• Communications – The initial promotional effort includes: the development and distribution of educational materials, billboards, the web site, and educational events such as an annual Nebraska Outdoors Expo, with messages on proper disposal of toxic materials. A description of these program tools is given below.

• Facility Runoff Control Plans – Development of preliminary runoff control plans have been completed at priority facilities.  Plans are in place to re-evaluate all city owned facilities to determine if they would be classified as a hot spot facility and in need of a runoff control plan.  Facilities classified as hot spot locations will be the main focus of the runoff control plan and facility inspection processes.

## Promotion of Pollution Runoff Control Procedures at Maintenance Facilities

The employee education program to promote proper management and disposal of toxic materials is also accomplished in tandem with the development of Facility Runoff Control Plans (FRCP).

These plans are developed with the facility manager of each site. The plans describe procedures used to prevent and reduce pollutants in stormwater runoff through assorted measures, including properly disposing of toxic materials and motor vehicle fluids.  The plans call attention to the need to manage, properly store and dispose of materials such as motor oil, hydraulic and transmission fluids, paints, herbicides, degreasing solvents and antifreeze, trash and debris collected from roadways, known or unknown hazardous wastes and materials collected from street sweeping operations.

The plans are site-specific, identifying potential pollutants, current site practices, and if required, recommended control measures. Where applicable, the frequencies of control measures are specified, along with a schedule of implementation for best management practices. The FRCP plan is, in itself, a communication tool to guide activities. In the future, program communications will incorporate information highlighting the role, existence and contact information for the hazardous materials response team. Typical actions, which are incorporated into several FRCPs will be summarized in a technical bulletin, written on a periodic basis and distributed as a form of education tools.

## Communication Tools

The program includes, but is not limited, to the development and dissemination of the following tools.

### Training Videos

Videos specific to the training of employees on the proper way to conduct everyday activities related to their job in order to reduce the probability of contributing to pollution.  These videos may also outline spill response procedures and reporting procedures.  A large focus is put on employees being able to identify areas within their job description that are in need of altered procedures that will assist in our overall goal of eliminating pollution from our operations.

### Posters

In the past the educational program has included the development and distribution of a poster promoting reporting illicit discharges by employees.  Posters are distributed to city facilities. In the future, we will approach other governmental offices and public places as a means of expanding its distribution of posters to others outside of the City of Kearney arena.

### Bulletins

The educational program includes broad-based outreach to its employees. Various bulletins for stormwater topics have been developed and distributed. The bulletins cover information about specific ways to control pollutants from being dumped into storm drains. It alerts readers to the telltale signs of an illicit discharge so they are more knowledgeable about what might be a problem and ways that their operations do not become the problem. Some also outlines items that an employee should take note of and report.  Finally, the bulletins have addressed “spills” and distinguished these from illicit discharges.

### Website

The City of Kearney web site presents information related to the MS4 Permit and water quality.

Information is included under the “Stormwater” section of the cities web site, and more material also on the Nebraska H2O web site. The web site addresses are: www.cityofkeareny.org and www.nebraskah2o.org . The site includes general information about water quality, as well as specific information relevant to illicit discharges. Technical bulletins are also posted in the web site. In the future, the “Frequently Asked Questions” section will be expanded to include information relevant to reporting illicit discharges as well as tips and guidelines for the proper disposal of toxic materials and motor vehicle fluids.

## Future Communication Tools

As the Illicit Discharge program develops, additional educational materials or educational efforts may include:

• Flyer/Bulletin - develop a flyer or bulletin highlighting typical materials and control measures that must be implemented at facilities. This concisely written educational tool would serve as a supplement to reinforce good housekeeping activities at facilities. These flyers would be distributed at all city employees, as well as in conjunction with any City of Kearney-sponsored training or conferences.

• Web site - Expanding the web sites to include a page and links to the various facility runoff control plans as they are developed.

• Training - providing presentation materials, handouts to be distributed in tandem with existing or scheduled training exercises.  Other ways that may be cost-effectively employed is to “piggy-back” these topics into weekly or regularly scheduled safety meetings.

## Typical Education and Distribution Schedule

The following schedule will be the goal of employee education along with public education as it pertains to Illicit Discharge:

- Employee Training Video:	Annually

- Employee Training Bulletin:	Quarterly

- Billboards:			Annually (as funding is available)

- TV promotions:			Annually (as funding is available)

- Business Specific Mailers	As Needed

Individual Specific Mailers	As Needed

Appendix A:

Appendix B:

Appendix C:

Appendix D:

Appendix E:

# Text boxes

Director of Public Works

City Engineer

Stormwater Program Manager

Engineering Technician

City Manager

City Council

City Employees

Chapter 5: City of Kearney IDDE Ordinance