## Attachment A
Please complete the following table as it relates to the community's controlled site.
Electricity
Distribution Supplier
Primary Voltage-kV
Phase (Highlight One) | Single | Three
Current capacity on site
Natural Gas
Distribution Supplier
Pressure-psi
Service Line (Inches)
Telecommunications Service
Local Exchange Carrier
Services Provided
Location
Nearest Central Office (C.O.) or POP
Current size and capacity
Fiber Available (Yes or No)
Points of Presence (POPs)
List All Major Long Distance Carriers
Water
Supplier
Water Main (Inches)
Service Line (Inches)
Pressure-psi
Average Daily Consumption at Plant (GPD)
Peak Capacity at Plant (GPD)
Excess Capacity? Amount?
What is the rate structure for a potential user within the community's targeted industry? (can include as an attachment)
Private Well (Highlight One) | Yes | No | Unknown
Sanitary Sewer
Supplier
Sewer Main (Inches)
Service Line (Inches)
Peak Capacity at Plant (Gallons Per Day)
Excess Capacity?
Amount?
Average daily / peak treatment rate
Septic Tank (Highlight One) | Yes | No | Unknown
Notes about sewer system intake (Are there issues with certain items or BOD levels?)
Additional Utility Comments
Please include additional comments below.
Existing Building - Utilities

## Attachment B
Please complete the following table as it relates to the community's controlled site.
Highways
Nearest Interstate (Include Distance in Miles)
Nearest 4-Lane Highway (Include Distance in Miles)
Define access points
Other Highways
NDOT Requirements
Road Access
Functional access points exist on/off site | Yes | No
Identify the Department of Roads District Engineer for the site. |  | No | Unknown
Identify if there are any load restrictions? | Yes | No
Are any major/minor system improvements underway/imminent? Or do entitlements to develop property depend on highway or street system improvements? If so, explain. |  | No | Unknown
Airport
Nearest General Aviation Airport
(Include Distance in Miles)
What is the length of the runway?
Nearest Commercial Airport (Include Distance in Miles)
Is this property located in the flight path?
Rail
Rail Served (Highlight One) | Yes | No
Rail Spur On-Site (Highlight One) | Yes | No
| If No, is there a plan to develop the necessary rail spur and connections to serve the building? | Yes | No
Service Type (Highlight One) | Unknown | Short line | None
| Main line | Branch
Railroad Service Provided By:
Details of rail service, including service and capacity available at the building.
Transportation Comments
Please include additional comments below.
Existing Building - Transportation

## Attachment C
Please complete the following table as it relates to the community's controlled site.
Electricity
Distribution Supplier | City of Lexington
On Site (Highlight One) | Yes | No
If not on Site, distance to Site
Primary Voltage-kV | 13.8 kv
Distance to substation(s) in reasonable proximity (miles) | <1 mile
Phase (Highlight One) | Single | Three
Explain reasonable (within cost and schedule for speculative development) power redundancy options | Redundancy provided by supplier with switching and backup capacity
Current capacity on site | 15 MW
Explain reasonable capacities to the site in 12 months that relate to target industries | 15 MW
Estimated cost and schedule to extend an average use of power to the site for this type of development | Supplier provides extension to site at no cost to project
Natural Gas
Distribution Supplier | Black Hills Energy
On Site (Highlight One) | Yes | No
If not on Site, distance to Site
Pressure-psi | 60 lbs.
Service Line (Inches) | 6+
Estimated cost and schedule to extend an average use of natural gas to the site for this type of development | Supplier provides extension to site at no cost to project
Telecommunications Service
Local Exchange Carrier |  | USA Communications
Services Provided |  | Symmetrical Fiber
Location |  | Kearney, NE
Nearest Central Office (C.O.) or POP |  | Kearney, NE
Distance from site |  | 40
Current size and capacity |  | Greater than 1 Gbps
Fiber Available (Yes or No) |  | Yes
Cost to build to site
Points of Presence (POPs)
List All Major Long Distance Carriers |  | USA Communications, Charter, Century Link
Location of Closest Major Carrier POP/Hotel
Distance in Miles
Water
Supplier | City of Lexington
On Site (Highlight One) | Yes | No
If not on Site, Distance to Site Water Main (Inches)
Service Line (Inches) | 16"
Pressure-psi | 75 psi
Average Daily Consumption at Plant (GPD) | 3 mgd
Peak Capacity at Plant (GPD) | 6.6 mgd
Excess Capacity? Amount? | 3.6 mgd
What is the rate structure for a potential user within the community's targeted industry? (can include as an attachment) | Large Industrial rate is $2,420 base then $0.357/1,000 gallons of use
Estimated cost and schedule to extend an average use of water to the site for this type of development | Supplier provides extension to site at no cost to project
Sanitary Sewer
Supplier | City of Lexington
On Site (Highlight One) | Yes | No | Unknown
If not on Site, Distance to Site
Sewer Main (Inches) | 21
Service Line (Inches) | 8
Nearest Service
Current Maximum Capacity at Site / Line | 0.5 mgd
Peak Capacity at Plant (Gallons Per Day) | 3 mgd
Excess Capacity? | yes
Amount? | 1.5 mgd
Average daily / peak treatment rate | 1.5 mgd/2.0 mgd
Estimated cost and schedule to extend an average use of water to the site for proposed target industry. | Supplier provides extension to site at no cost to project
Septic Tank (Highlight One) | Yes | No | Unknown
Notes about sewer system intake (Are there issues with certain items or BOD levels?) | NPDES pretreatment permit would be necessary for any load in excess of available plant loading capacity.
Additional Utility Comments
Please include additional comments below.
Site Control - Utilities

## Attachment D
Please complete the following table as it relates to the community's controlled site.
Highways
Nearest Interstate (Include Distance in Miles) | Interstate 80; 2 miles
Nearest 4-Lane Highway (Include Distance in Miles) | Highway 283, 1 mile
Define access points | Prospect Road
Other Highways | Highway 30; 1 mile
NDOT Requirements
Road Access
Functional access points exist on/off site | Yes | No
Identify the Department of Roads District Engineer for the site. | Gary Thayer, North Platte Office, NDOT | No | Unknown
Identify if there are any load restrictions? | Yes | No
Are any major/minor system improvements underway/imminent? Or do entitlements to develop property depend on highway or street system improvements? If so, explain. | No | No | Unknown
Airport
Nearest General Aviation Airport | Jim Kelly Airfield; 3 miles
(Include Distance in Miles)
| What is the length of the runway? | 5, 489 feet
Nearest Commercial Airport (Include Distance in Miles) | Kearney Regional Airport; 40 miles
Is this property located in the flight path? | No
Rail
Rail Served (Highlight One) | Yes | No
Rail Spur On-Site (Highlight One) | Yes | No
| If No, is there a plan to develop the necessary rail spur and connections to serve it? | Yes | No
Service Type (Highlight One) | Unknown | Short line | None
| Main line | Branch
Railroad Service Provided By:
Details of rail service, including service and capacity available at the site and any costs involved to extend rail.
Transportation Comments
Please include additional comments below.
Site Control - Transportation